## Beam Design
Steel Beam Design Calculator
INPUTS
Span Length | L | 6 | m
Distributed Load | w | 25 | kN/m
Point Load (mid-span) | P | 50 | kN
Steel Yield Strength | fy | 250 | MPa
Elastic Modulus | E | 200000 | MPa
Safety Factor | SF | 1.5 | —
CALCULATIONS
Max Moment (distributed) | Mw |  | kN·m
Max Moment (point load) | Mp |  | kN·m
Total Max Moment | Mtotal |  | kN·m
Design Moment | Md |  | kN·m
Required Section Modulus | Sx_req |  | mm³
Max Deflection (distributed) | δw |  | mm (approx)
Max Deflection (point load) | δp |  | mm (approx)
RESULTS
Design Moment | Md |  | kN·m
Required Sx | Sx |  | mm³